## Tags
Direccion |  | Tipo | Descripción | Unidad | Multiplicador | T.DATA tag
8 | Latitud | Aanlógico |  |  |  | 8
9 | Longitud | Analógico |  |  |  | 9
200 | Voltage | Analogica | Tensión de Alimentación del equipo | V | 0,001 | voltage
202 | Voltage_bat | Analogica | Tension de bateria |  |  | voltageBat
203 | Temperature | Analogica | Temperatura interna del equipo | °C | 0,01 | temperature
205 | Voltage_5V | Analogica | Tension del regulador 5V | V | 0,001
206 | Signal | Analogica | nivel de señal celular
208 | Modem Voltage | Analogica | Tensión de alimentación Modem | V | 0,001 | 208
1100 | AI_Actual_Value 1 | Analogica | Valor entrada Analogica 1 |  |  | ai1ActualValue
1101 | AI_Average_Value 1 | Analogica
1102 | AI_MaxValue_Value 1 | Analogica
1103 | AI_MinMaValue_Value 1 | Analogica
1104 | AI_MA_Value_Value 1 | Analogica
1105 | AI_Actual_Value 2 | Analogica | Valor entrada Analogica 2
1106 | AI_Average_Value 2 | Analogica
1107 | AI_MaxValue_Value 2 | Analogica
1108 | AI_MinMaValue_Value 2 | Analogica
1109 | AI_MA_Value_Value 2 | Analogica
1110 | AI_Actual_Value 3 | Analogica | Valor entrada Analogica 3
1111 | AI_Average_Value 3 | Analogica
1112 | AI_MaxValue_Value 3 | Analogica
1113 | AI_MinMaValue_Value 3 | Analogica
1114 | AI_MA_Value_Value 3 | Analogica
1115 | AI_Actual_Value 4 | Analogica | Valor entrada Analogica 4
1116 | AI_Average_Value 4 | Analogica
1117 | AI_MaxValue_Value 4 | Analogica
1118 | AI_MinMaValue_Value 4 | Analogica
1119 | AI_MA_Value_Value 4 | Analogica
1120 | AI_Actual_Value 5 | Analogica | Valor entrada Analogica 5
1121 | AI_Average_Value 5 | Analogica
1122 | AI_MaxValue_Value 5 | Analogica
1123 | AI_MinMaValue_Value 5 | Analogica
1124 | AI_MA_Value_Value 5 | Analogica
1125 | AI_Actual_Value 6 | Analogica | Valor entrada Analogica 6
1126 | AI_Average_Value 6 | Analogica
1127 | AI_MaxValue_Value 6 | Analogica
1128 | AI_MinMaValue_Value 6 | Analogica
1129 | AI_MA_Value_Value 6 | Analogica
1130 | AI_Actual_Value 7 | Analogica | Valor entrada Analogica 7
1131 | AI_Average_Value 7 | Analogica
1132 | AI_MaxValue_Value 7 | Analogica
1133 | AI_MinMaValue_Value 7 | Analogica
1134 | AI_MA_Value_Value 7 | Analogica
1135 | AI_Actual_Value 8 | Analogica | Valor entrada Analogica 8
1136 | AI_Average_Value 8 | Analogica
1137 | AI_MaxValue_Value 8 | Analogica
1138 | AI_MinMaValue_Value 8 | Analogica
1139 | AI_MA_Value_Value 8 | Analogica
1140 | AI_Actual_Value 9 | Analogica | Valor entrada Analogica 9
1141 | AI_Average_Value 9 | Analogica
1142 | AI_MaxValue_Value 9 | Analogica
1143 | AI_MinMaValue_Value 9 | Analogica
1144 | AI_MA_Value_Value 9 | Analogica
1145 | AI_Actual_Value 10 | Analogica | Valor entrada Analogica 10
1146 | AI_Average_Value 10 | Analogica
1147 | AI_MaxValue_Value 10 | Analogica
1148 | AI_MinMaValue_Value 10 | Analogica
1149 | AI_MA_Value_Value 10 | Analogica
1150 | AI_Actual_Value 11 | Analogica | Valor entrada Analogica 11
1151 | AI_Average_Value 11 | Analogica
1152 | AI_MaxValue_Value 11 | Analogica
1153 | AI_MinMaValue_Value 11 | Analogica
1154 | AI_MA_Value_Value 11 | Analogica
1155 | AI_Actual_Value 12 | Analogica | Valor entrada Analogica 12
1156 | AI_Average_Value 12 | Analogica
1157 | AI_MaxValue_Value 12 | Analogica
1158 | AI_MinMaValue_Value 12 | Analogica
1159 | AI_MA_Value_Value 12 | Analogica |  |  |  | 1159
1160 | AI_Actual_Value 13 |  | Valor entrada Analogica 13
1161 | AI_Average_Value 13 | Analogica |  |  |  | ai13ActualAverage
1162 | AI_MaxValue_Value 13 | Analogica |  |  |  | ai13Max
1163 | AI_MinMaValue_Value 13 | Analogica |  |  |  | ai13Min
1164 | AI_MA_Value_Value 13 | Analogica |  |  |  | 1164
1165 | AI_Actual_Value 14 | Analogica | Valor entrada Analogica 14 |  |  | ai14ActualValue
1166 | AI_Average_Value 14 | Analogica |  |  |  | ai14ActualAverage
1167 | AI_MaxValue_Value 14
1168 | AI_MinMaValue_Value 14
1169 | AI_MA_Value_Value 14
1170 | AI_Actual_Value 15 |  | Valor entrada Analogica 15
1171 | AI_Average_Value 15
1172 | AI_MaxValue_Value 15
1173 | AI_MinMaValue_Value 15
1174 | AI_MA_Value_Value 15
1175 | AI_Actual_Value 16 |  | Valor entrada Analogica 16
1176 | AI_Average_Value 16
1177 | AI_MaxValue_Value 16
1178 | AI_MinMaValue_Value 16
1179 | AI_MA_Value_Value 16
1180 | AI_Actual_Value 17 |  | Valor entrada Analogica 17
1181 | AI_Average_Value 17
1182 | AI_MaxValue_Value 17
1183 | AI_MinMaValue_Value 17
1184 | AI_MA_Value_Value 17
1185 | AI_Actual_Value 18 |  | Valor entrada Analogica 18
1186 | AI_Average_Value 18
1187 | AI_MaxValue_Value 18
1188 | AI_MinMaValue_Value 18
1189 | AI_MA_Value_Value 18
10000 | ServerConnectionStatus_Actual_Value | Digital | Conexión al servidor | - |  | serverConnectionStatusActualValue | Si
10010 | RIC_RTC_Change_Actual_Value | Digital | Cambio hora interna del equipo | - |  | ricRtcChangeActualValue | Si
10013 | RIC_Reset_Actual_Value | Digital | Reset Equipo | - |  | ricResetActualValue | Si
10014 | RIC_Battery_Status_Actual_Value | Digital | Battery Status | - |  | ricBatteryStatusActualValue | Si
10036 | Energy_state_Actual_Value | Digital | Falla Alimentación | - |  | fallaAlimentacion | Si
10038 | ERROR_BATTERY | Digital | Error Battery |  |  | errorBattery | Si
10045 | Low_Power_Indicator | Digital | Low Power |  |  | 10045 | Si
10300 | Alarma_Lazo_no_detectado_AI_1 | Digital | Alarma Lazo no detectado AI 1 | - |  | alarmaLazoNoDetectadoAi1
10301 | Alarma_Lazo_no_detectado_AI_2 | Digital | Alarma Lazo no detectado AI 2 | - |  | alarmaLazoNoDetectadoAi2
10302 | Alarma_Lazo_no_detectado_AI_3 | Digital | Alarma Lazo no detectado AI 3 | - |  | alarmaLazoNoDetectadoAi3
10303 | Alarma_Lazo_no_detectado_AI_4 | Digital | Alarma Lazo no detectado AI 4 | - |  | alarmaLazoNoDetectadoAi4
10304 | Alarma_Lazo_no_detectado_AI_5 | Digital | Alarma Lazo no detectado AI 5 | - |  | alarmaLazoNoDetectadoAi5
10305 | Alarma_Lazo_no_detectado_AI_6 | Digital | Alarma Lazo no detectado AI 6 | - |  | alarmaLazoNoDetectadoAi6
10306 | Alarma_Lazo_no_detectado_AI_7 | Digital | Alarma Lazo no detectado AI 7 | - |  | alarmaLazoNoDetectadoAi7
10307 | Alarma_Lazo_no_detectado_AI_8 | Digital | Alarma Lazo no detectado AI 8 | - |  | alarmaLazoNoDetectadoAi8
10308 | Alarma_Lazo_no_detectado_AI_9 | Digital | Alarma Lazo no detectado AI 9 | - |  | alarmaLazoNoDetectadoAi9
10309 | Alarma_Lazo_no_detectado_AI_10 | Digital | Alarma Lazo no detectado AI 10 | - |  | alarmaLazoNoDetectadoAi10
10310 | Alarma_Lazo_no_detectado_AI_11 | Digital | Alarma Lazo no detectado AI 11 | - |  | alarmaLazoNoDetectadoAi11
10311 | Alarma_Lazo_no_detectado_AI_12 | Digital | Alarma Lazo no detectado AI 12 | - |  | alarmaLazoNoDetectadoAi12
10312 | Alarma_Lazo_no_detectado_AI_13 | Digital | Alarma Lazo no detectado AI 13 | - |  | alarmaLazoNoDetectadoAi13
10313 | Alarma_Lazo_no_detectado_AI_14 | Digital | Alarma Lazo no detectado AI 14 | - |  | alarmaLazoNoDetectadoAi14
10314 | Alarma_Lazo_no_detectado_AI_15 | Digital | Alarma Lazo no detectado AI 15 | - |  | alarmaLazoNoDetectadoAi15
10315 | Alarma_Lazo_no_detectado_AI_16 | Digital | Alarma Lazo no detectado AI 16 | - |  | alarmaLazoNoDetectadoAi16
10348 | Alarma_Lazo_no_detectado_AI_17 | Digital | Alarma Lazo no detectado AI 17 | - |  | 10348
10349 | Alarma_Lazo_no_detectado_AI_18 | Digital | Alarma Lazo no detectado AI 18 | - |  | 10349
10316 | Alarma_nivel_bajo_AI_1 | Digital | Alarma Nivel Bajo en AI 1 | - |  | alarmaNivelBajoAi1
10317 | Alarma_nivel_bajo_AI_2 | Digital | Alarma Nivel Bajo en AI 2 | - |  | alarmaNivelBajoAi2
10318 | Alarma_nivel_bajo_AI_3 | Digital | Alarma Nivel Bajo en AI 3 | - |  | alarmaNivelBajoAi3
10319 | Alarma_nivel_bajo_AI_4 | Digital | Alarma Nivel Bajo en AI 4 | - |  | alarmaNivelBajoAi4
10320 | Alarma_nivel_bajo_AI_5 | Digital | Alarma Nivel Bajo en AI 5 | - |  | alarmaNivelBajoAi5
10321 | Alarma_nivel_bajo_AI_6 | Digital | Alarma Nivel Bajo en AI 6 | - |  | alarmaNivelBajoAi6
10322 | Alarma_nivel_bajo_AI_7 | Digital | Alarma Nivel Bajo en AI 7 | - |  | alarmaNivelBajoAi7
10323 | Alarma_nivel_bajo_AI_8 | Digital | Alarma Nivel Bajo en AI 8 | - |  | alarmaNivelBajoAi8
10324 | Alarma_nivel_bajo_AI_9 | Digital | Alarma Nivel Bajo en AI 9 | - |  | alarmaNivelBajoAi9
10325 | Alarma_nivel_bajo_AI_10 | Digital | Alarma Nivel Bajo en AI 10 | - |  | alarmaNivelBajoAi10
10326 | Alarma_nivel_bajo_AI_11 | Digital | Alarma Nivel Bajo en AI 11 | - |  | alarmaNivelBajoAi11
10327 | Alarma_nivel_bajo_AI_12 | Digital | Alarma Nivel Bajo en AI 12 | - |  | alarmaNivelBajoAi12
10328 | Alarma_nivel_bajo_AI_13 | Digital | Alarma Nivel Bajo en AI 13 | - |  | alarmaNivelBajoAi13
10329 | Alarma_nivel_bajo_AI_14 | Digital | Alarma Nivel Bajo en AI 14 | - |  | alarmaNivelBajoAi14
10330 | Alarma_nivel_bajo_AI_15 | Digital | Alarma Nivel Bajo en AI 15 | - |  | alarmaNivelBajoAi15
10331 | Alarma_nivel_bajo_AI_16 | Digital | Alarma Nivel Bajo en AI 16 | - |  | alarmaNivelBajoAi16
10364 | Alarma_nivel_bajo_AI_17 | Digital | Alarma Nivel Bajo en AI 17 | - |  | 10364
10365 | Alarma_nivel_bajo_AI_18 | Digital | Alarma Nivel Bajo en AI 18 | - |  | 10365
10332 | Alarma_nivel_alto_AI_1 | Digital | Alarma Nivel Alto en AI 1 | - |  | alarmaNivelAltoAi1
10333 | Alarma_nivel_alto_AI_2 | Digital | Alarma Nivel Alto en AI 2 | - |  | alarmaNivelAltoAi2
10334 | Alarma_nivel_alto_AI_3 | Digital | Alarma Nivel Alto en AI 3 | - |  | alarmaNivelAltoAi3
10335 | Alarma_nivel_alto_AI_4 | Digital | Alarma Nivel Alto en AI 4 | - |  | alarmaNivelAltoAi4
10336 | Alarma_nivel_alto_AI_5 | Digital | Alarma Nivel Alto en AI 5 | - |  | alarmaNivelAltoAi5
10337 | Alarma_nivel_alto_AI_6 | Digital | Alarma Nivel Alto en AI 6 | - |  | alarmaNivelAltoAi6
10338 | Alarma_nivel_alto_AI_7 | Digital | Alarma Nivel Alto en AI 7 | - |  | alarmaNivelAltoAi7
10339 | Alarma_nivel_alto_AI_8 | Digital | Alarma Nivel Alto en AI 8 | - |  | alarmaNivelAltoAi8
10340 | Alarma_nivel_alto_AI_9 | Digital | Alarma Nivel Alto en AI 9 | - |  | alarmaNivelAltoAi9
10341 | Alarma_nivel_alto_AI_10 | Digital | Alarma Nivel Alto en AI 10 | - |  | alarmaNivelAltoAi10
10342 | Alarma_nivel_alto_AI_11 | Digital | Alarma Nivel Alto en AI 11 | - |  | alarmaNivelAltoAi11
10343 | Alarma_nivel_alto_AI_12 | Digital | Alarma Nivel Alto en AI 12 | - |  | alarmaNivelAltoAi12
10344 | Alarma_nivel_alto_AI_13 | Digital | Alarma Nivel Alto en AI 13 | - |  | alarmaNivelAltoAi13
10345 | Alarma_nivel_alto_AI_14 | Digital | Alarma Nivel Alto en AI 14 | - |  | alarmaNivelAltoAi14
10346 | Alarma_nivel_alto_AI_15 | Digital | Alarma Nivel Alto en AI 15 | - |  | alarmaNivelAltoAi15
10347 | Alarma_nivel_alto_AI_16 | Digital | Alarma Nivel Alto en AI 16 | - |  | alarmaNivelAltoAi16
10380 | Alarma_nivel_alto_AI_17 | Digital | Alarma Nivel Alto en AI 17 | - |  | 10380
10381 | Alarma_nivel_alto_AI_18 | Digital | Alarma Nivel Alto en AI 18 | - |  | 10381
10046 | Posición GPS Valida | Digital | Posicion GPS Valida | - |  | 10046
equipment
11000 |  | Digital | Consulta ModbusDigital 1 | - |  | 11000
11001 |  | Digital | Consulta ModbusDigital 2 | - |  | 11001
11002 |  | Digital | Consulta ModbusDigital 3 | - |  | 11002
11003 |  | Digital | Consulta ModbusDigital 4 | - |  | 11003
11004 |  | Digital | Consulta ModbusDigital 5 | - |  | 11004
11005 |  | Digital | Consulta ModbusDigital 6 | - |  | 11005
11006 |  | Digital | Consulta ModbusDigital 7 | - |  | 11006
11007 |  | Digital | Consulta ModbusDigital 8 | - |  | 11007
11008 |  | Digital | Consulta ModbusDigital 9 | - |  | 11008
11009 |  | Digital | Consulta ModbusDigital 10 | - |  | 11009
11010 |  | Digital | Consulta ModbusDigital 11 | - |  | 11010
11011 |  | Digital | Consulta ModbusDigital 12 | - |  | 11011
11012 |  | Digital | Consulta ModbusDigital 13 | - |  | 11012
11013 |  | Digital | Consulta ModbusDigital 14 | - |  | 11013
11014 |  | Digital | Consulta ModbusDigital 15 | - |  | 11014
11015 |  | Digital | Consulta ModbusDigital 16 | - |  | 11015
11016 |  | Digital | Consulta ModbusDigital 17 | - |  | 11016
11017 |  | Digital | Consulta ModbusDigital 18 | - |  | 11017
11018 |  | Digital | Consulta ModbusDigital 19 | - |  | 11018
11019 |  | Digital | Consulta ModbusDigital 20 | - |  | 11019
11020 |  | Digital | Consulta ModbusDigital 21 | - |  | 11020
11021 |  | Digital | Consulta ModbusDigital 22 | - |  | 11021
11022 |  | Digital | Consulta ModbusDigital 23 | - |  | 11022
11023 |  | Digital | Consulta ModbusDigital 24 | - |  | 11023
11024 |  | Digital | Consulta ModbusDigital 25 | - |  | 11024
11025 |  | Digital | Consulta ModbusDigital 26 | - |  | 11025
11026 |  | Digital | Consulta ModbusDigital 27 | - |  | 11026
11027 |  | Digital | Consulta ModbusDigital 28 | - |  | 11027
11028 |  | Digital | Consulta ModbusDigital 29 | - |  | 11028
11029 |  | Digital | Consulta ModbusDigital 30 | - |  | 11029
11030 |  | Digital | Consulta ModbusDigital 31 | - |  | 11030
11031 |  | Digital | Consulta ModbusDigital 32 | - |  | 11031
11032 |  | Digital | Consulta ModbusDigital 33 | - |  | 11032
11033 |  | Digital | Consulta ModbusDigital 34 | - |  | 11033
11034 |  | Digital | Consulta ModbusDigital 35 | - |  | 11034
11035 |  | Digital | Consulta ModbusDigital 36 | - |  | 11035
11036 |  | Digital | Consulta ModbusDigital 37 | - |  | 11036
11037 |  | Digital | Consulta ModbusDigital 38 | - |  | 11037
11038 |  | Digital | Consulta ModbusDigital 39 | - |  | 11038
11039 |  | Digital | Consulta ModbusDigital 40 | - |  | 11039
11040 |  | Digital | Consulta ModbusDigital 41 | - |  | 11040
11041 |  | Digital | Consulta ModbusDigital 42 | - |  | 11041
11042 |  | Digital | Consulta ModbusDigital 43 | - |  | 11042
11043 |  | Digital | Consulta ModbusDigital 44 | - |  | 11043
11044 |  | Digital | Consulta ModbusDigital 45 | - |  | 11044
11045 |  | Digital | Consulta ModbusDigital 46 | - |  | 11045
11046 |  | Digital | Consulta ModbusDigital 47 | - |  | 11046
11047 |  | Digital | Consulta ModbusDigital 48 | - |  | 11047
11048 |  | Digital | Consulta ModbusDigital 49 | - |  | 11048
11049 |  | Digital | Consulta ModbusDigital 50 | - |  | 11049
11050 |  | Digital | Consulta ModbusDigital 51 | - |  | 11050
11051 |  | Digital | Consulta ModbusDigital 52 | - |  | 11051
11052 |  | Digital | Consulta ModbusDigital 53 | - |  | 11052
11053 |  | Digital | Consulta ModbusDigital 54 | - |  | 11053
11054 |  | Digital | Consulta ModbusDigital 55 | - |  | 11054
11055 |  | Digital | Consulta ModbusDigital 56 | - |  | 11055
11056 |  | Digital | Consulta ModbusDigital 57 | - |  | 11056
11057 |  | Digital | Consulta ModbusDigital 58 | - |  | 11057
11058 |  | Digital | Consulta ModbusDigital 59 | - |  | 11058
11059 |  | Digital | Consulta ModbusDigital 60 | - |  | 11059
11060 |  | Digital | Consulta ModbusDigital 61 | - |  | 11060
11061 |  | Digital | Consulta ModbusDigital 62 | - |  | 11061
11062 |  | Digital | Consulta ModbusDigital 63 | - |  | 11062
11063 |  | Digital | Consulta ModbusDigital 64 | - |  | 11063
5000 |  | Analogica | Consulta Modbus Analogica 1 | USER DEFINE |  | 5000
5001 |  | Analogica | Consulta Modbus Analogica 2 | USER DEFINE |  | 5001
5002 |  | Analogica | Consulta Modbus Analogica 3 | USER DEFINE |  | 5002
5003 |  | Analogica | Consulta Modbus Analogica 4 | USER DEFINE |  | 5003
5004 |  | Analogica | Consulta Modbus Analogica 5 | USER DEFINE |  | 5004
5005 |  | Analogica | Consulta Modbus Analogica 6 | USER DEFINE |  | 5005
5006 |  | Analogica | Consulta Modbus Analogica 7 | USER DEFINE |  | 5006
5007 |  | Analogica | Consulta Modbus Analogica 8 | USER DEFINE |  | 5007
5008 |  | Analogica | Consulta Modbus Analogica 9 | USER DEFINE |  | 5008
5009 |  | Analogica | Consulta Modbus Analogica 10 | USER DEFINE |  | 5009
5010 |  | Analogica | Consulta Modbus Analogica 11 | USER DEFINE |  | 5010
5011 |  | Analogica | Consulta Modbus Analogica 12 | USER DEFINE |  | 5011
5012 |  | Analogica | Consulta Modbus Analogica 13 | USER DEFINE |  | 5012
5013 |  | Analogica | Consulta Modbus Analogica 14 | USER DEFINE |  | 5013
5014 |  | Analogica | Consulta Modbus Analogica 15 | USER DEFINE |  | 5014
5015 |  | Analogica | Consulta Modbus Analogica 16 | USER DEFINE |  | 5015
5016 |  | Analogica | Consulta Modbus Analogica 17 | USER DEFINE |  | 5016
5017 |  | Analogica | Consulta Modbus Analogica 18 | USER DEFINE |  | 5017
5018 |  | Analogica | Consulta Modbus Analogica 19 | USER DEFINE |  | 5018
5019 |  | Analogica | Consulta Modbus Analogica 20 | USER DEFINE |  | 5019
5020 |  | Analogica | Consulta Modbus Analogica 21 | USER DEFINE |  | 5020
5021 |  | Analogica | Consulta Modbus Analogica 22 | USER DEFINE |  | 5021
5022 |  | Analogica | Consulta Modbus Analogica 23 | USER DEFINE |  | 5022
5023 |  | Analogica | Consulta Modbus Analogica 24 | USER DEFINE |  | 5023
5024 |  | Analogica | Consulta Modbus Analogica 25 | USER DEFINE |  | 5024
5025 |  | Analogica | Consulta Modbus Analogica 26 | USER DEFINE |  | 5025
5026 |  | Analogica | Consulta Modbus Analogica 27 | USER DEFINE |  | 5026
5027 |  | Analogica | Consulta Modbus Analogica 28 | USER DEFINE |  | 5027
5028 |  | Analogica | Consulta Modbus Analogica 29 | USER DEFINE |  | 5028
5029 |  | Analogica | Consulta Modbus Analogica 30 | USER DEFINE |  | 5029
5030 |  | Analogica | Consulta Modbus Analogica 31 | USER DEFINE |  | 5030
5031 |  | Analogica | Consulta Modbus Analogica 32 | USER DEFINE |  | 5031
5032 |  | Analogica | Consulta Modbus Analogica 33 | USER DEFINE |  | 5032
5033 |  | Analogica | Consulta Modbus Analogica 34 | USER DEFINE |  | 5033
5034 |  | Analogica | Consulta Modbus Analogica 35 | USER DEFINE |  | 5034
5035 |  | Analogica | Consulta Modbus Analogica 36 | USER DEFINE |  | 5035
5036 |  | Analogica | Consulta Modbus Analogica 37 | USER DEFINE |  | 5036
5037 |  | Analogica | Consulta Modbus Analogica 38 | USER DEFINE |  | 5037
5038 |  | Analogica | Consulta Modbus Analogica 39 | USER DEFINE |  | 5038
5039 |  | Analogica | Consulta Modbus Analogica 40 | USER DEFINE |  | 5039
5040 |  | Analogica | Consulta Modbus Analogica 41 | USER DEFINE |  | 5040
5041 |  | Analogica | Consulta Modbus Analogica 42 | USER DEFINE |  | 5041
5042 |  | Analogica | Consulta Modbus Analogica 43 | USER DEFINE |  | 5042
5043 |  | Analogica | Consulta Modbus Analogica 44 | USER DEFINE |  | 5043
5044 |  | Analogica | Consulta Modbus Analogica 45 | USER DEFINE |  | 5044
5045 |  | Analogica | Consulta Modbus Analogica 46 | USER DEFINE |  | 5045
5046 |  | Analogica | Consulta Modbus Analogica 47 | USER DEFINE |  | 5046
5047 |  | Analogica | Consulta Modbus Analogica 48 | USER DEFINE |  | 5047

## GeneradorJson
|  |  |  | limite | [6 empty] | punteros | tags | desplazamiento | tagType | Tags Config | tags | tagType | pointer | desplazamiento | limite
|  |  |  | { | [6 empty] | (char*)&flashConfig. |  | { |  |  | { | { | { | { | {
2 | 1 |  | uint16_t tsdId; | 1 | 1 | 20000 | 9 | 14 | #VALUE! | 14 | tsdId | tsdId | 0 | 0 | "tsdId" | {"tsdId" | {0 | {(char*)&flashConfig.tsdId | {0 | {1
2 | 1 |  | uint16_t periodicTime; | 1 | 1 | 20001 | 9 | 21 | #VALUE! | 21 | periodicTime | periodicTime | 0 | 0 | "periodicTime" | {"tsdId","periodicTime" | {0,0 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime | {0,0 | {1,1 | #define INT_TYPE | 0
4 | 1 |  | uint16_t simAPort[2]; | 2 | 1 | 20002 | 9 | 20 | 17 | 17 | simAPort | simAPort | 0 | 3 | "simAPort" | {"tsdId","periodicTime","simAPort" | {0,0,3 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort | {0,0,0 | {1,1,2 | #define LONG_TYPE | 1
64 | 1 |  | char simAIp[2][32]; | 2 | 16 | 20004 | 5 | 18 | 11 | 11 | simAIp | simAIp | 32 | 5 | "simAIp" | {"tsdId","periodicTime","simAPort","simAIp" | {0,0,3,5 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp | {0,0,0,32 | {1,1,2,2 | #define STR_TYPE | 2
48 | 1 |  | char apnA[48]; | 1 | 24 | 20036 | 5 | 13 | 9 | 9 | apnA | apnA | 0 | 2 | "apnA" | {"tsdId","periodicTime","simAPort","simAIp","apnA" | {0,0,3,5,2 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA | {0,0,0,32,0 | {1,1,2,2,1 | #define INT_ARRAY_TYPE | 3
24 | 1 |  | char userA[24]; | 1 | 12 | 20060 | 5 | 14 | 10 | 10 | userA | userA | 0 | 2 | "userA" | {"tsdId","periodicTime","simAPort","simAIp","apnA","userA" | {0,0,3,5,2,2 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA,(char*)&flashConfig.userA | {0,0,0,32,0,0 | {1,1,2,2,1,1 | #define LONG_ARRAY_TYPE | 4
24 | 1 |  | char passA[24]; | 1 | 12 | 20072 | 5 | 14 | 10 | 10 | passA | passA | 0 | 2 | "passA" | {"tsdId","periodicTime","simAPort","simAIp","apnA","userA","passA" | {0,0,3,5,2,2,2 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA,(char*)&flashConfig.userA,(char*)&flashConfig.passA | {0,0,0,32,0,0,0 | {1,1,2,2,1,1,1 | #define STR_ARRAY_TYPE | 5
2 | 1 |  | uint16_t comChannelA; | 1 | 1 | 20084 | 9 | 20 | #VALUE! | 20 | comChannelA | comChannelA | 0 | 0 | "comChannelA" | {"tsdId","periodicTime","simAPort","simAIp","apnA","userA","passA","comChannelA" | {0,0,3,5,2,2,2,0 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA,(char*)&flashConfig.userA,(char*)&flashConfig.passA,(char*)&flashConfig.comChannelA | {0,0,0,32,0,0,0,0 | {1,1,2,2,1,1,1,1 | #define STRUCT_AARAY_TYPE | 6
4 | 1 |  | uint16_t simBPort[2]; | 2 | 1 | 20085 | 9 | 20 | 17 | 17 | simBPort | simBPort | 0 | 3 | "simBPort" | {"tsdId","periodicTime","simAPort","simAIp","apnA","userA","passA","comChannelA","simBPort" | {0,0,3,5,2,2,2,0,3 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA,(char*)&flashConfig.userA,(char*)&flashConfig.passA,(char*)&flashConfig.comChannelA,(char*)&flashConfig.simBPort | {0,0,0,32,0,0,0,0,0 | {1,1,2,2,1,1,1,1,2
64 | 1 |  | char simBIp[2][32]; | 2 | 16 | 20087 | 5 | 18 | 11 | 11 | simBIp | simBIp | 32 | 5 | "simBIp" | {"tsdId","periodicTime","simAPort","simAIp","apnA","userA","passA","comChannelA","simBPort","simBIp" | {0,0,3,5,2,2,2,0,3,5 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA,(char*)&flashConfig.userA,(char*)&flashConfig.passA,(char*)&flashConfig.comChannelA,(char*)&flashConfig.simBPort,(char*)&flashConfig.simBIp | {0,0,0,32,0,0,0,0,0,32 | {1,1,2,2,1,1,1,1,2,2
48 | 1 |  | char apnB[48]; | 1 | 24 | 20119 | 5 | 13 | 9 | 9 | apnB | apnB | 0 | 2 | "apnB" | {"tsdId","periodicTime","simAPort","simAIp","apnA","userA","passA","comChannelA","simBPort","simBIp","apnB" | {0,0,3,5,2,2,2,0,3,5,2 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA,(char*)&flashConfig.userA,(char*)&flashConfig.passA,(char*)&flashConfig.comChannelA,(char*)&flashConfig.simBPort,(char*)&flashConfig.simBIp,(char*)&flashConfig.apnB | {0,0,0,32,0,0,0,0,0,32,0 | {1,1,2,2,1,1,1,1,2,2,1
24 | 1 |  | char userB[24]; | 1 | 12 | 20143 | 5 | 14 | 10 | 10 | userB | userB | 0 | 2 | "userB" | {"tsdId","periodicTime","simAPort","simAIp","apnA","userA","passA","comChannelA","simBPort","simBIp","apnB","userB" | {0,0,3,5,2,2,2,0,3,5,2,2 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA,(char*)&flashConfig.userA,(char*)&flashConfig.passA,(char*)&flashConfig.comChannelA,(char*)&flashConfig.simBPort,(char*)&flashConfig.simBIp,(char*)&flashConfig.apnB,(char*)&flashConfig.userB | {0,0,0,32,0,0,0,0,0,32,0,0 | {1,1,2,2,1,1,1,1,2,2,1,1
24 | 1 |  | char passB[24]; | 1 | 12 | 20155 | 5 | 14 | 10 | 10 | passB | passB | 0 | 2 | "passB" | {"tsdId","periodicTime","simAPort","simAIp","apnA","userA","passA","comChannelA","simBPort","simBIp","apnB","userB","passB" | {0,0,3,5,2,2,2,0,3,5,2,2,2 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA,(char*)&flashConfig.userA,(char*)&flashConfig.passA,(char*)&flashConfig.comChannelA,(char*)&flashConfig.simBPort,(char*)&flashConfig.simBIp,(char*)&flashConfig.apnB,(char*)&flashConfig.userB,(char*)&flashConfig.passB | {0,0,0,32,0,0,0,0,0,32,0,0,0 | {1,1,2,2,1,1,1,1,2,2,1,1,1
2 | 1 |  | uint16_t comChannelB; | 1 | 1 | 20167 | 9 | 20 | #VALUE! | 20 | comChannelB | comChannelB | 0 | 0 | "comChannelB" | {"tsdId","periodicTime","simAPort","simAIp","apnA","userA","passA","comChannelA","simBPort","simBIp","apnB","userB","passB","comChannelB" | {0,0,3,5,2,2,2,0,3,5,2,2,2,0 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA,(char*)&flashConfig.userA,(char*)&flashConfig.passA,(char*)&flashConfig.comChannelA,(char*)&flashConfig.simBPort,(char*)&flashConfig.simBIp,(char*)&flashConfig.apnB,(char*)&flashConfig.userB,(char*)&flashConfig.passB,(char*)&flashConfig.comChannelB | {0,0,0,32,0,0,0,0,0,32,0,0,0,0 | {1,1,2,2,1,1,1,1,2,2,1,1,1,1
6 | 1 | serial | uint16_t Enable[3]; | 3 | 1 | 20168 | 9 | 18 | 15 | 15 | serial[0].Enable | serialEnable | 16 | 6 | "serialEnable" | {"tsdId","periodicTime","simAPort","simAIp","apnA","userA","passA","comChannelA","simBPort","simBIp","apnB","userB","passB","comChannelB","serialEnable" | {0,0,3,5,2,2,2,0,3,5,2,2,2,0,6 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA,(char*)&flashConfig.userA,(char*)&flashConfig.passA,(char*)&flashConfig.comChannelA,(char*)&flashConfig.simBPort,(char*)&flashConfig.simBIp,(char*)&flashConfig.apnB,(char*)&flashConfig.userB,(char*)&flashConfig.passB,(char*)&flashConfig.comChannelB,(char*)&flashConfig.serial[0].Enable | {0,0,0,32,0,0,0,0,0,32,0,0,0,0,16 | {1,1,2,2,1,1,1,1,2,2,1,1,1,1,3
6 | 1 | serial | uint16_t Config[3]; | 3 | 1 | 20171 | 9 | 18 | 15 | 15 | serial[0].Config | serialConfig | 16 | 6 | "serialConfig" | {"tsdId","periodicTime","simAPort","simAIp","apnA","userA","passA","comChannelA","simBPort","simBIp","apnB","userB","passB","comChannelB","serialEnable","serialConfig" | {0,0,3,5,2,2,2,0,3,5,2,2,2,0,6,6 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA,(char*)&flashConfig.userA,(char*)&flashConfig.passA,(char*)&flashConfig.comChannelA,(char*)&flashConfig.simBPort,(char*)&flashConfig.simBIp,(char*)&flashConfig.apnB,(char*)&flashConfig.userB,(char*)&flashConfig.passB,(char*)&flashConfig.comChannelB,(char*)&flashConfig.serial[0].Enable,(char*)&flashConfig.serial[0].Config | {0,0,0,32,0,0,0,0,0,32,0,0,0,0,16,16 | {1,1,2,2,1,1,1,1,2,2,1,1,1,1,3,3
12 | 1 | serial | uint32_t PortBaudrate[3]; | 3 | 2 | 20174 | 9 | 24 | 21 | 21 | serial[0].PortBaudrate | serialPortBaudrate | 16 | 6 | "serialPortBaudrate" | {"tsdId","periodicTime","simAPort","simAIp","apnA","userA","passA","comChannelA","simBPort","simBIp","apnB","userB","passB","comChannelB","serialEnable","serialConfig","serialPortBaudrate" | {0,0,3,5,2,2,2,0,3,5,2,2,2,0,6,6,6 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA,(char*)&flashConfig.userA,(char*)&flashConfig.passA,(char*)&flashConfig.comChannelA,(char*)&flashConfig.simBPort,(char*)&flashConfig.simBIp,(char*)&flashConfig.apnB,(char*)&flashConfig.userB,(char*)&flashConfig.passB,(char*)&flashConfig.comChannelB,(char*)&flashConfig.serial[0].Enable,(char*)&flashConfig.serial[0].Config,(char*)&flashConfig.serial[0].PortBaudrate | {0,0,0,32,0,0,0,0,0,32,0,0,0,0,16,16,16 | {1,1,2,2,1,1,1,1,2,2,1,1,1,1,3,3,3
12 | 1 | serial | uint32_t SerialWait[3]; | 3 | 2 | 20180 | 9 | 22 | 19 | 19 | serial[0].SerialWait | serialSerialWait | 16 | 6 | "serialSerialWait" | {"tsdId","periodicTime","simAPort","simAIp","apnA","userA","passA","comChannelA","simBPort","simBIp","apnB","userB","passB","comChannelB","serialEnable","serialConfig","serialPortBaudrate","serialSerialWait" | {0,0,3,5,2,2,2,0,3,5,2,2,2,0,6,6,6,6 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA,(char*)&flashConfig.userA,(char*)&flashConfig.passA,(char*)&flashConfig.comChannelA,(char*)&flashConfig.simBPort,(char*)&flashConfig.simBIp,(char*)&flashConfig.apnB,(char*)&flashConfig.userB,(char*)&flashConfig.passB,(char*)&flashConfig.comChannelB,(char*)&flashConfig.serial[0].Enable,(char*)&flashConfig.serial[0].Config,(char*)&flashConfig.serial[0].PortBaudrate,(char*)&flashConfig.serial[0].SerialWait | {0,0,0,32,0,0,0,0,0,32,0,0,0,0,16,16,16,16 | {1,1,2,2,1,1,1,1,2,2,1,1,1,1,3,3,3,3
42 | 1 |  | char telNumber[3][14]; | 3 | 7 | 20186 | 5 | 21 | 14 | 14 | telNumber | telNumber | 14 | 5 | "telNumber" | {"tsdId","periodicTime","simAPort","simAIp","apnA","userA","passA","comChannelA","simBPort","simBIp","apnB","userB","passB","comChannelB","serialEnable","serialConfig","serialPortBaudrate","serialSerialWait","telNumber" | {0,0,3,5,2,2,2,0,3,5,2,2,2,0,6,6,6,6,5 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA,(char*)&flashConfig.userA,(char*)&flashConfig.passA,(char*)&flashConfig.comChannelA,(char*)&flashConfig.simBPort,(char*)&flashConfig.simBIp,(char*)&flashConfig.apnB,(char*)&flashConfig.userB,(char*)&flashConfig.passB,(char*)&flashConfig.comChannelB,(char*)&flashConfig.serial[0].Enable,(char*)&flashConfig.serial[0].Config,(char*)&flashConfig.serial[0].PortBaudrate,(char*)&flashConfig.serial[0].SerialWait,(char*)&flashConfig.telNumber | {0,0,0,32,0,0,0,0,0,32,0,0,0,0,16,16,16,16,14 | {1,1,2,2,1,1,1,1,2,2,1,1,1,1,3,3,3,3,3
2 | 1 |  | uint16_t telEnable; | 1 | 1 | 20207 | 9 | 18 | #VALUE! | 18 | telEnable | telEnable | 0 | 0 | "telEnable" | {"tsdId","periodicTime","simAPort","simAIp","apnA","userA","passA","comChannelA","simBPort","simBIp","apnB","userB","passB","comChannelB","serialEnable","serialConfig","serialPortBaudrate","serialSerialWait","telNumber","telEnable" | {0,0,3,5,2,2,2,0,3,5,2,2,2,0,6,6,6,6,5,0 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA,(char*)&flashConfig.userA,(char*)&flashConfig.passA,(char*)&flashConfig.comChannelA,(char*)&flashConfig.simBPort,(char*)&flashConfig.simBIp,(char*)&flashConfig.apnB,(char*)&flashConfig.userB,(char*)&flashConfig.passB,(char*)&flashConfig.comChannelB,(char*)&flashConfig.serial[0].Enable,(char*)&flashConfig.serial[0].Config,(char*)&flashConfig.serial[0].PortBaudrate,(char*)&flashConfig.serial[0].SerialWait,(char*)&flashConfig.telNumber,(char*)&flashConfig.telEnable | {0,0,0,32,0,0,0,0,0,32,0,0,0,0,16,16,16,16,14,0 | {1,1,2,2,1,1,1,1,2,2,1,1,1,1,3,3,3,3,3,1
20 | 1 |  | char reporteId[20]; | 1 | 10 | 20208 | 5 | 18 | 14 | 14 | reporteId | reporteId | 0 | 2 | "reporteId" | {"tsdId","periodicTime","simAPort","simAIp","apnA","userA","passA","comChannelA","simBPort","simBIp","apnB","userB","passB","comChannelB","serialEnable","serialConfig","serialPortBaudrate","serialSerialWait","telNumber","telEnable","reporteId" | {0,0,3,5,2,2,2,0,3,5,2,2,2,0,6,6,6,6,5,0,2 | {(char*)&flashConfig.tsdId,(char*)&flashConfig.periodicTime,(char*)&flashConfig.simAPort,(char*)&flashConfig.simAIp,(char*)&flashConfig.apnA,(char*)&flashConfig.userA,(char*)&flashConfig.passA,(char*)&flashConfig.comChannelA,(char*)&flashConfig.simBPort,(char*)&flashConfig.simBIp,(char*)&flashConfig.apnB,(char*)&flashConfig.userB,(char*)&flashConfig.passB,(char*)&flashConfig.comChannelB,(char*)&flashConfig.serial[0].Enable,(char*)&flashConfig.serial[0].Config,(char*)&flashConfig.serial[0].PortBaudrate,(char*)&flashConfig.serial[0].SerialWait,(char*)&flashConfig.telNumber,(char*)&flashConfig.telEnable,(char*)&flashConfig.reporteId | {0,0,0,32,0,0,0,0,0,32,0,0,0,0,16,16,16,16,14,0,0 | {1,1,2,2,1,1,1,1,2,2,1,1,1,1,3,3,3,3,3,1,1
2 | 1 |  | uint16_t analogSmsAlarm; | 1 | 1 | 20218 | 9 | 23 | #VALUE! | 23 | analogSmsAlarm | analogSmsAlarm | 0 | 0 | "analogSmsAlarm" | #REF! | #REF! | #REF! | #REF! | #REF!
0 | 0 |  | uint16_t crcType; | 1 | 1 | 20219 | 9 | 16 | #VALUE! | 16 | crcType | crcType | 0 | 0 | "crcType" | #REF! | #REF! | #REF! | #REF! | #REF!
0 | 0 |  | uint16_t TsdEstablishTimeout; | 1 | 1 | 20220 | 9 | 28 | #VALUE! | 28 | TsdEstablishTimeout | TsdEstablishTimeout | 0 | 0 | "TsdEstablishTimeout" | #REF! | #REF! | #REF! | #REF! | #REF!
0 | 0 |  | uint16_t TsdSessionTimeout; | 1 | 1 | 20221 | 9 | 26 | #VALUE! | 26 | TsdSessionTimeout | TsdSessionTimeout | 0 | 0 | "TsdSessionTimeout" | #REF! | #REF! | #REF! | #REF! | #REF!
0 | 0 |  | uint16_t TsdIdleTimeout; | 1 | 1 | 20222 | 9 | 23 | #VALUE! | 23 | TsdIdleTimeout | TsdIdleTimeout | 0 | 0 | "TsdIdleTimeout" | #REF! | #REF! | #REF! | #REF! | #REF!
0 | 0 |  | uint16_t TsdWaitAckTimeout; | 1 | 1 | 20223 | 9 | 26 | #VALUE! | 26 | TsdWaitAckTimeout | TsdWaitAckTimeout | 0 | 0 | "TsdWaitAckTimeout" | #REF! | #REF! | #REF! | #REF! | #REF!
0 | 0 |  | uint16_t FactoryReset; | 1 | 1 | 20224 | 9 | 21 | #VALUE! | 21 | FactoryReset | FactoryReset | 0 | 0 | "FactoryReset" | #REF! | #REF! | #REF! | #REF! | #REF!
0 | 0 |  | uint16_t alarmStringOn; | 1 | 1 | 20225 | 9 | 22 | #VALUE! | 22 | alarmStringOn | alarmStringOn | 0 | 0 | "alarmStringOn" | #REF! | #REF! | #REF! | #REF! | #REF!
0 | 0 |  | uint16_t alarmSMSOn; | 1 | 1 | 20226 | 9 | 19 | #VALUE! | 19 | alarmSMSOn | alarmSMSOn | 0 | 0 | "alarmSMSOn" | #REF! | #REF! | #REF! | #REF! | #REF!
0 | 0 |  | uint16_t t_1; | 1 | 1 | 20227 | 9 | 12 | #VALUE! | 12 | t_1 | t_1 | 0 | 0 | "t_1" | #REF! | #REF! | #REF! | #REF! | #REF!
0 | 0 |  | uint16_t t_2; | 1 | 1 | 20228 | 9 | 12 | #VALUE! | 12 | t_2 | t_2 | 0 | 0 | "t_2" | #REF! | #REF! | #REF! | #REF! | #REF!
0 | 0 |  | uint16_t t_3; | 1 | 1 | 20229 | 9 | 12 | #VALUE! | 12 | t_3 | t_3 | 0 | 0 | "t_3" | #REF! | #REF! | #REF! | #REF! | #REF!
36 | 1 | analogConfig | int16_t Cero[18]; | 18 | 1 | 20230 | 8 | 16 | 12 | 12 | analogConfig[0].Cero | analogConfigCero | 12 | 6 | "analogConfigCero" | #REF! | #REF! | #REF! | #REF! | #REF!
36 | 1 | analogConfig | int16_t Span[18]; | 18 | 1 | 20248 | 8 | 16 | 12 | 12 | analogConfig[0].Span | analogConfigSpan | 12 | 6 | "analogConfigSpan" | #REF! | #REF! | #REF! | #REF! | #REF!
36 | 1 | analogConfig | int16_t AlarmLow[18]; | 18 | 1 | 20266 | 8 | 20 | 16 | 16 | analogConfig[0].AlarmLow | analogConfigAlarmLow | 12 | 6 | "analogConfigAlarmLow" | #REF! | #REF! | #REF! | #REF! | #REF!
36 | 1 | analogConfig | int16_t AlarmHi[18]; | 18 | 1 | 20284 | 8 | 19 | 15 | 15 | analogConfig[0].AlarmHi | analogConfigAlarmHi | 12 | 6 | "analogConfigAlarmHi" | #REF! | #REF! | #REF! | #REF! | #REF!
36 | 1 | analogConfig | uint16_t Histeresis[18]; | 18 | 1 | 20302 | 9 | 23 | 19 | 19 | analogConfig[0].Histeresis | analogConfigHisteresis | 12 | 6 | "analogConfigHisteresis" | #REF! | #REF! | #REF! | #REF! | #REF!
36 | 1 | analogConfig | uint16_t AnalogType[18]; | 18 | 1 | 20320 | 9 | 23 | 19 | 19 | analogConfig[0].AnalogType | analogConfigAnalogType | 12 | 6 | "analogConfigAnalogType" | #REF! | #REF! | #REF! | #REF! | #REF!
128 | 1 | digitalConfig | unt16_t State[64]; | 64 | 1 | 20338 | 8 | 17 | 13 | 13 | digitalConfig[0].State | digitalConfigState | 4 | 6 | "digitalConfigState" | #REF! | #REF! | #REF! | #REF! | #REF!
128 | 1 | digitalConfig | unt16_t Address[64]; | 64 | 1 | 20402 | 8 | 19 | 15 | 15 | digitalConfig[0].Address | digitalConfigAddress | 4 | 6 | "digitalConfigAddress" | #REF! | #REF! | #REF! | #REF! | #REF!
96 | 1 | integerConfig | uint16_t State[48]; | 48 | 1 | 20466 | 9 | 18 | 14 | 14 | integerConfig[0].State | integerConfigState | 6 | 6 | "integerConfigState" | #REF! | #REF! | #REF! | #REF! | #REF!
96 | 1 | integerConfig | uint16_t Address[48]; | 48 | 1 | 20514 | 9 | 20 | 16 | 16 | integerConfig[0].Address | integerConfigAddress | 6 | 6 | "integerConfigAddress" | #REF! | #REF! | #REF! | #REF! | #REF!
96 | 1 | integerConfig | uint16_t Alarm[48]; | 48 | 1 | 20562 | 9 | 18 | 14 | 14 | integerConfig[0].Alarm | integerConfigAlarm | 6 | 6 | "integerConfigAlarm" | #REF! | #REF! | #REF! | #REF! | #REF!
80 | 1 |  | char pass[5][16]; | 5 | 8 | 20610 | 5 | 16 | 9 | 9 | pass | pass | 16 | 5 | "pass" | #REF! | #REF! | #REF! | #REF! | #REF!
10 | 1 |  | uint16_t readTime[5]; | 5 | 1 | 20650 | 9 | 20 | 17 | 17 | readTime | readTime | 0 | 3 | "readTime" | #REF! | #REF! | #REF! | #REF! | #REF!
128 | 1 |  | char digtalTag[8][16]; | 8 | 8 | 20655 | 5 | 21 | 14 | 14 | digtalTag | digtalTag | 16 | 5 | "digtalTag" | #REF! | #REF! | #REF! | #REF! | #REF!
64 | 1 |  | char analogTag[4][16]; | 4 | 8 | 20719 | 5 | 21 | 14 | 14 | analogTag | analogTag | 16 | 5 | "analogTag" | #REF! | #REF! | #REF! | #REF! | #REF!
64 | 1 |  | char digitalOutTag[4][16]; | 4 | 8 | 20751 | 5 | 25 | 18 | 18 | digitalOutTag | digitalOutTag | 16 | 5 | "digitalOutTag" | #REF! | #REF! | #REF! | #REF! | #REF!
0 | 0 |  | int iridiumTime; | 1 | 1 | 20783 | 4 | 15 | #VALUE! | 15 | iridiumTime | iridiumTime |  |  | "iridiumTime" | #REF! | #REF! | #REF! | #REF! | #REF!
2 | 1 |  | uint16_t adc0_offset; | 1 | 1 | 20784 | 9 | 20 | #VALUE! | 20 | adc0_offset | adc0_offset | 0 | 0 | "adc0_offset" | #REF! | #REF! | #REF! | #REF! | #REF!
2 | 1 |  | uint16_t adc0_gain; | 1 | 1 | 20785 | 9 | 18 | #VALUE! | 18 | adc0_gain | adc0_gain | 0 | 0 | "adc0_gain" | #REF! | #REF! | #REF! | #REF! | #REF!
2 | 1 |  | uint16_t adc1_offset; | 1 | 1 | 20786 | 9 | 20 | #VALUE! | 20 | adc1_offset | adc1_offset | 0 | 0 | "adc1_offset" | #REF! | #REF! | #REF! | #REF! | #REF!
2 | 1 |  | uint16_t adc1_gain; | 1 | 1 | 20787 | 9 | 18 | #VALUE! | 18 | adc1_gain | adc1_gain | 0 | 0 | "adc1_gain" | #REF! | #REF! | #REF! | #REF! | #REF!
8 | 1 |  | uint16_t ain_gain[4]; | 4 | 1 | 20788 | 9 | 20 | 17 | 17 | ain_gain | ain_gain | 0 | 3 | "ain_gain" | #REF! | #REF! | #REF! | #REF! | #REF!
1552 | 1 |  |  | }; | [6 empty] | }; | }; | }; | }; | }; | #REF! | #REF! | #REF! | #REF! | #REF!

## ConfigModbus
uint16_t tsdId; | 1 | 20000 | Entero
uint16_t periodicTime; | 1 | 20001 | Entero
uint16_t simAPort[0]; | 1 | 20002 | Entero
uint16_t simAPort[1]; | 1 | 20003 | Entero
char simAIp[0][32]; | 16 | 20004 | String
char simAIp[1][32]; | 16 | 20020 | String
char apnA[48]; | 24 | 20036 | String
char userA[24]; | 12 | 20060 | String
char passA[24]; | 12 | 20072 | String
uint16_t comChannelA; | 1 | 20084 | Entero
uint16_t simBPort[0]; | 1 | 20085 | Entero
uint16_t simBPort[1]; | 1 | 20086 | Entero
char simBIp[0][32]; | 16 | 20087 | String
char simBIp[1][32]; | 16 | 20103 | String
char apnB[48]; | 24 | 20119 | String
char userB[24]; | 12 | 20143 | String
char passB[24]; | 12 | 20155 | String
uint16_t comChannelB; | 1 | 20167 | Entero
uint16_t serialEnable[0]; | 1 | 20168 | Entero
uint16_t config[0]; | 1 | 20169 | Entero
uint32_t serialPortBaudrate[0]; | 2 | 20170 | Long
uint32_t serialWait[0]; | 2 | 20172 | Long
uint16_t serialEnable[1]; | 1 | 20174 | Entero
uint16_t serialPortParity[1]; | 1 | 20175 | Entero
uint32_t config[1]; | 2 | 20176 | Long
uint32_t serialWait[1]; | 2 | 20178 | Long
uint16_t serialEnable[2]; | 1 | 20180 | Entero
uint16_t config[2]; | 1 | 20181 | Entero
uint32_t serialPortBaudrate[2]; | 2 | 20182 | Long
uint32_t serialWait[2]; | 2 | 20184 | Long
char telNumber[0][14]; | 7 | 20186 | String
char telNumber[1][14]; | 7 | 20193 | String
char telNumber[2][14]; | 7 | 20200 | String
uint16_t telEnable; | 1 | 20207 | Entero
char reporteId[20]; | 10 | 20208 | String
digitalSmsAlarm | 1 | 20218
analogSmsAlarm | 1 | 20219
uint16_t crcType; | 1 | 20220 | Entero
uint16_t TsdEstablishTimeout; | 1 | 20221 | Entero
uint16_t TsdSessionTimeout; | 1 | 20222 | Entero
uint16_t TsdIdleTimeout; | 1 | 20223 | Entero
uint16_t TsdWaitAckTimeout; | 1 | 20224 | Entero
uint16_t FactoryReset; | 1 | 20225 | Entero
uint16_t alarmStringOn; | 1 | 20226 | Entero
uint16_t alarmSMSOn; | 1 | 20227 | Entero
uint16_t t_1; | 1 | 20228 | Entero
uint16_t t_2; | 1 | 20229 | Entero
uint16_t t_3; | 1 | 20230 | Entero
uint16_t pulse; | 1 | 20231 | Entero | 0
uint16_t diInverter; | 1 | 20232 | Entero | 2
uint16_t pulseOffWidth; | 8 | 20233 | Entero | 4
uint16_t latch; | 1 | 20241 | Entero | 20
uint16_t latchReset; | 1 | 20242 | Entero | 22
uint16_t logicInverter; | 1 | 20243 | Entero | 24
uint16_t pulseWidth; | 1 | 20244 | Entero | 26
uint16_t enableProbe; | 1 | 20245 | Entero | 28
uint16_t outputFunction; | 1 | 20246 | Entero | 30
uint16_t outputTime[4]; | 4 | 20247 | Entero | 32
int16_t analogConfigCero; | 18 | 20251 | Entero
int16_t analogConfigSpan; | 18 | 20269 | Entero
int16_t analogConfigAlarmLow; | 18 | 20287 | Entero
int16_t analogConfigAlarmHi; | 18 | 20305 | Entero
uint16_t analogConfigHisteresis; | 18 | 20323 | Entero
uint16_t analogType; | 18 | 20341 | Entero
unt16_t digitalConfigSlaveAddress[64]; | 128 | 20359 | Arreglo
unt16_t digitalConfigAddress[64]; |  | 20487 | Arreglo
uint16_t integerConfigSlaveAddress[48]; | 144 | 20487 | Arreglo
uint16_t integerConfigAddress[48]; |  | 20631 | Arreglo
uint16_t integerConfigAlarm[48]; |  | 20631 | Arreglo
char pass[0][16]; | 8 | 20631 | String
char pass[1][16]; | 8 | 20639 | String
char pass[2][16]; | 8 | 20647 | String
char pass[3][16]; | 8 | 20655 | String
char pass[4][16]; | 8 | 20663 | String
uint16_t readTime[0]; | 1 | 20671 | Entero
uint16_t readTime[1]; | 1 | 20672 | Entero
uint16_t readTime[2]; | 1 | 20673 | Entero
uint16_t readTime[3]; | 1 | 20674 | Entero
uint16_t readTime[4]; | 1 | 20675 | Entero
char digtalTag[0][16]; | 8 | 20676 | String
char digtalTag[1][16]; | 8 | 20684 | String
char digtalTag[2][16]; | 8 | 20692 | String
char digtalTag[3][16]; | 8 | 20700
char digtalTag[4][16]; | 8 | 20708
char digtalTag[5][16]; | 8 | 20716
char digtalTag[6][16]; | 8 | 20724
char digtalTag[7][16]; | 8 | 20732
char digtalTag[0][16]; | 8 | 20740 | String
char digtalTag[1][16]; | 8 | 20748 | String
char digtalTag[2][16]; | 8 | 20756 | String
char digtalTag[3][16]; | 8 | 20764
char digtalTag[0][16]; | 8 | 20772
char digtalTag[1][16]; | 8 | 20780
char digtalTag[2][16]; | 8 | 20788
char digtalTag[3][16]; | 8 | 20796
iridiumTime | 1 | 20804
adc0_offset | 1 | 20805
adc0_gain | 1 | 20806
adc1_offset | 1 | 20807
adc1_gain | 1 | 20808
ain_gain | 4 | 20809

## Config
Pestaña | Caption |  |  | crudo | Tags Config | tagType | limite | desplazamiento
[10 empty] | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | #define INT_TYPE | 0
General | TsdId |  |  | uint16_t tsdId; | "tsdId" | 0 | 1 | 0 | [17 empty] | #define LONG_TYPE | 1
General | Time |  |  | uint16_t periodicTime; | "periodicTime" | 0 | 1 | 0 | [17 empty] | #define STR_TYPE | 2
General |  | Puerto TCP de conexión |  | uint16_t simAPort[2]; | "simAPort" | 3 | 2 | 0 | [17 empty] | #define INT_ARRAY_TYPE | 3
General |  | Drieccion IP / DNS |  | char simAIp[2][32]; | "simAIp" | 5 | 2 | 32 | [17 empty] | #define LONG_ARRAY_TYPE | 4
General |  | apn privado de la sim |  | char apnA[48]; | "apnA" | 2 | 1 | 0 | [17 empty] | #define STR_ARRAY_TYPE | 5
General |  | usuario apn de la sim |  | char userA[24]; | "userA" | 2 | 1 | 0 | [17 empty] | #define STRUCT_AARAY_TYPE | 6
General |  | pass apn de la sim |  | char passA[24]; | "passA" | 2 | 1 | 0
General |  | CHECKBOXS |  | uint16_t comChannelA; | "comChannelA" | 0 | 1 | 0 | mascara | 6: SIM A; 7: APN
General |  | Puerto TCP de conexión |  | uint16_t simBPort[2]; | "simBPort" | 3 | 2 | 0
General |  | Drieccion IP / DNS |  | char simBIp[2][32]; | "simBIp" | 5 | 2 | 32
General |  | apn privado de la sim |  | char apnB[48]; | "apnB" | 2 | 1 | 0
General |  | usuario apn de la sim |  | char userB[24]; | "userB" | 2 | 1 | 0
General |  | pass apn de la sim |  | char passB[24]; | "passB" | 2 | 1 | 0
General |  | CHECKBOXS |  | uint16_t comChannelB; | "comChannelB" | 0 | 1 | 0 | mascara | 6: SIM B; 7: APN
General |  |  | serial[3] | uint16_t Enable; | "serialEnable" | 6 | 3 | 16 | mascara | 0: enable; 1: flow control; 2: tipo de puerto serie
General |  |  | serial[3] | uint16_t PortDatabits; | "serialPortDatabits" | 6 | 3 | 16
General |  |  | serial[3] | uint16_t PortStopbits; | "serialPortStopbits" | 6 | 3 | 16
General |  |  | serial[3] | uint16_t PortParity; | "serialPortParity" | 6 | 3 | 16
General |  |  | serial[3] | uint32_t PortBaudrate; | "serialPortBaudrate" | 6 | 3 | 16
General |  |  | serial[3] | uint32_t SerialWait; | "serialSerialWait" | 6 | 3 | 16
Servicio SMS |  | numero de telefono |  | char telNumber[3][14]; | "telNumber" | 5 | 3 | 14
Servicio SMS |  | habiliación para envio alarmas |  | uint16_t telEnable; | "telEnable" | 0 | 1 | 0 | mascara | 0: tel 1 hab Al; 1: tel 2 hab Al; 2: tel 3 hab Al
Servicio SMS |  | Identificdor en el SMS de alarma |  | char reporteId[20]; | "reporteId" | 2 | 1 | 0
Servicio SMS |  |  |  | uint16_t digitalSmsAlarm; | "digitalSmsAlarm" | 0 | 1 | 0 | mascara | 0: 1; 1: 2; 2: 3; 3: 4; 4: 5; 5: 6; 6: 7; 7: 8
Servicio SMS |  |  |  | uint16_t analogSmsAlarm; | "analogSmsAlarm" | 0 | 1 | 0 | mascara | 0: 9; 1: 10; 2: 11; 3: 12; 8: 13; 9: 14; 10: 15; 11: 16
NOT CONFIGURE |  |  |  | uint16_t crcType; | "crcType" | 0 | 1 | 0
NOT CONFIGURE |  |  |  | uint16_t TsdEstablishTimeout; | "TsdEstablishTimeout" | 0 | 1 | 0
NOT CONFIGURE |  |  |  | uint16_t TsdSessionTimeout; | "TsdSessionTimeout" | 0 | 1 | 0
NOT CONFIGURE |  |  |  | uint16_t TsdIdleTimeout; | "TsdIdleTimeout" | 0 | 1 | 0
NOT CONFIGURE |  |  |  | uint16_t TsdWaitAckTimeout; | "TsdWaitAckTimeout" | 0 | 1 | 0
NOT CONFIGURE |  |  |  | uint16_t FactoryReset; | "FactoryReset" | 0 | 1 | 0
NOT CONFIGURE |  |  |  | uint16_t alarmStringOn; | "alarmStringOn" | 0 | 1 | 0
NOT CONFIGURE |  |  |  | uint16_t alarmSMSOn; | "alarmSMSOn" | 0 | 1 | 0
NOT CONFIGURE |  |  |  | uint16_t t_1; | "t_1" | 0 | 1 | 0
NOT CONFIGURE |  |  |  | uint16_t t_2; | "t_2" | 0 | 1 | 0
NOT CONFIGURE |  |  |  | uint16_t t_3; | "t_3" | 0 | 1 | 0
Entradas |  | Habilitacion para conteo de pulsos |  | uint16_t pulse; | "pulse" | 0 | 1 | 0 | mascara | 0: pulse DI 1; 1: pulse DI 2; 2: pulse DI 3; 3: pulse DI 4; 4: pulse DI 5; 5: pulse DI 6; 6: pulse DI 7; 7: pulse DI 8
Entradas |  | Invertir entrada digital |  | uint16_t diInverter; | "diInverter" | 0 | 1 | 0 | mascara | 0: Invertir DI 1; 1: Invertir DI 2; 2: Invertir DI 3; 3: Invertir DI 4; 4: Invertir DI 5; 5: Invertir DI 6; 6: Invertir DI 7; 7: Invertir DI 8
Entradas |  |  |  | uint16_t pulseOffWidth; | "pulseOffWidth" | 0 | 1 | 0 | mascara
Entradas |  | latch en entrada digital |  | uint16_t latch; | "latch" | 0 | 1 | 0 | mascara | 0: latch DI 1; 1: latch DI 2; 2: latch DI 3; 3: latch DI 4; 4: latch DI 5; 5: latch DI 6; 6: latch DI 7; 7: latch DI 8
Entradas |  | Reseteo de tiempo de latch |  | uint16_t latchReset; | "latchReset" | 0 | 1 | 0 | mascara | 0: LR DI 1; 1: LR DI 2; 2: LR DI 3; 3: LR DI 4; 4: LR DI 5; 5: LR DI 6; 6: LR DI 7; 7: LR DI 8
Entradas |  | invertir logica de latcheo |  | uint16_t logicInverter; | "logicInverter" | 0 | 1 | 0 | mascara | 0: Logig In DI 1; 1: Logig In DI 2; 2: Logig In DI 3; 3: Logig In DI 4; 4: Logig In DI 5; 5: Logig In DI 6; 6: Logig In DI 7; 7: Logig In DI 8
Entradas |  |  |  | uint16_t pulseWidth; | "pulseWidth" | 0 | 1 | 0 | mascara
Entradas |  |  |  | uint16_t enableProbe; | "enableProbe" | 0 | 1 | 0 | mascara
Entradas |  | tipo de salida , pulso o latch |  | uint16_t outputFunction; | "outputFunction" | 0 | 1 | 0 | mascara
Entradas |  | tiempo de accionamiento del rele |  | uint16_t outputTime[4]; | "outputTime" | 3 | 4 | 0
Entradas |  | valor de 4ma | analogConfig | int16_t Cero[4]; | "analogConfigCero" | 6 | 4 | 12
Entradas |  | valor de 20ma | analogConfig | int16_t Span[4]; | "analogConfigSpan" | 6 | 4 | 12
Entradas |  | nivel de alarma por valor bajo | analogConfig | int16_t AlarmLow[4]; | "analogConfigAlarmLow" | 6 | 4 | 12
Entradas |  | nivel de alarma por nivel alto | analogConfig | int16_t AlarmHi[4]; | "analogConfigAlarmHi" | 6 | 4 | 12
Entradas |  | histeresis para salir de la alarma | analogConfig | uint16_t Histeresis[4]; | "analogConfigHisteresis" | 6 | 4 | 12
Entradas |  | tipo de entrada analogica | analogConfig | uint16_t AnalogType[4]; | "analogConfigAnalogType" | 6 | 4 | 12
Maestro Modbus |  | registro de config consulta digital modbus | digitalConfig | unt16_t State[64]; | "digitalConfigState" | 6 | 64 | 4 | mascara
Maestro Modbus |  | registro de config consulta digital modbus | digitalConfig | unt16_t Address[64]; | "digitalConfigAddress" | 6 | 64 | 4 | mascara
Maestro Modbus |  | registro de config consulta analogica modbus | integerConfig | uint16_t State[48]; | "integerConfigState" | 6 | 48 | 6 | mascara
Maestro Modbus |  | registro de config consulta analogica modbus | integerConfig | uint16_t Address[48]; | "integerConfigAddress" | 6 | 48 | 6 | mascara
Maestro Modbus |  | registro de config consulta analogica modbus | integerConfig | uint16_t Alarm[48]; | "integerConfigAlarm" | 6 | 48 | 6 | mascara
Administrador |  | password de acceso a debug y configuracion |  | char pass[5][16]; | "pass" | 5 | 5 | 16
Administrador |  | tiempo de duracion de cada sesion [seg] |  | uint16_t readTime[5]; | "readTime" | 3 | 5 | 0
Servicio SMS |  | tag para alarma por SMS 1 a 8 |  | char digtalTag[8][16]; | "digtalTag" | 5 | 8 | 16
Servicio SMS |  | tag para alarma por SMS 9 a 12 |  | char analogTag[4][16]; | "analogTag" | 5 | 4 | 16
Servicio SMS |  | tag para alarma por SMS 13 a 16 |  | char digitalOutTag[4][16]; | "digitalOutTag" | 5 | 4 | 16
NOT CONFIGURE |  |  |  | int iridiumTime; | "iridiumTime" |  | 1
Calibracion |  | calbracion de offset AD 0 |  | uint16_t adc0_offset; | "adc0_offset" | 0 | 1 | 0
Calibracion |  | calibracion ganancia AD 0 |  | uint16_t adc0_gain; | "adc0_gain" | 0 | 1 | 0
Calibracion |  | calbracion de offset AD 1 |  | uint16_t adc1_offset; | "adc1_offset" | 0 | 1 | 0
Calibracion |  | calibracion ganancia AD 1 |  | uint16_t adc1_gain; | "adc1_gain" | 0 | 1 | 0
Calibracion |  | calibracion de entrada analogica 0 |  | uint16_t ain_gain[4]; | "ain_gain" | 3 | 4 | 0

## Flash
Memoria
Config 1 |  |  |  |  | 0
Config 2 |  |  |  |  | 2048
Historic SPI | Page | 100 | 1024 | 64 | 52800
Historic ME |  | 200 | 2048 | 128 | 105600
Historic SMS |  | 350 | 256 | 16 | 184800

## Hoja1
0 | equipment
1 | frequency
2 | temperatureEnclosure
3 | lastRestartYearMonth
4 | lastRestartDayHour
5 | lastRestartMinuteSecond
6 | ricPowerSupply
7 | upPowerSupply
10 | currentPhaseA
11 | currentPhaseB
12 | currentPhaseC
13 | currentNeutral
14 | currentGround
15 | current3PhaseAverage
16 | currentApparentRms
17 | currentUnbalancePhaseA
18 | currentUnbalancePhaseB
19 | currentUnbalancePhaseC
20 | currentUnbalanceWorst
30 | voltagePhaseAToNeutral
31 | voltagePhaseBToNeutral
32 | voltagePhaseCToNeutral
33 | voltagePhaseAToB
34 | voltagePhaseBToC
35 | voltagePhaseCToA
36 | voltageLL3PhaseAverage
37 | voltageLN3PhaseAverage
38 | voltageUnbalancePhaseAB
39 | voltageUnbalancePhaseBC
40 | voltageUnbalancePhaseCA
41 | voltageUnbalanceLLWorst
42 | voltageUnbalancePhaseA
43 | voltageUnbalancePhaseB
44 | voltageUnbalancePhaseC
45 | voltageUnbalanceLNWorst
50 | truePowerFactorPhaseA
51 | truePowerFactorPhaseB
52 | truePowerFactorPhaseC
53 | truePowerFactor3PhaseTotal
54 | displacementPowerFactorPhaseA
55 | displacementPowerFactorPhaseB
56 | displacementPowerFactorPhaseC
57 | displacementPowerFactor3PhaseTotal
70 | realPowerPhaseA
71 | realPowerPhaseB
72 | realPowerPhaseC
73 | realPower3PhaseTotal
74 | reactivePowerPhaseA
75 | reactivePowerPhaseB
76 | reactivePowerPhaseC
77 | reactivePower3PhaseTotal
78 | apparentPowerPhaseA
79 | apparentPowerPhaseB
80 | apparentPowerPhaseC
81 | apparentPower3PhaseTotal
100 | realEnergyIn3PhaseTotal
101 | reactiveEnergyIn3PhaseTotal
102 | realEnergyOut3PhaseTotal
103 | reactiveEnergyOut3PhaseTotal
104 | apparentEnergy3PhaseTotal
105 | realEnergySignedAbsolute3PhaseTotal
106 | reactiveEnergySignedAbsolute3PhaseTotal
150 | demandOfPeakCurrentPhaseAYearMonth
151 | demandOfPeakCurrentPhaseADayHour
152 | demandOfPeakCurrentPhaseAMinuteSecond
153 | demandOfPeakCurrentPhaseBYearMonth
154 | demandOfPeakCurrentPhaseBDayHour
155 | demandOfPeakCurrentPhaseBMinuteSecond
156 | demandOfPeakCurrentPhaseCYearMonth
157 | demandOfPeakCurrentPhaseCDayHour
158 | demandOfPeakCurrentPhaseCMinuteSecond
159 | demandOfPeakDemandAverageRealPowerYearMonth
160 | demandOfPeakDemandAverageRealPowerDayHour
161 | demandOfPeakDemandAverageRealPowerMinuteSecond
170 | averageCurrentPhaseA
171 | averageCurrentPhaseB
172 | averageCurrentPhaseC
173 | averageCurrentNeutral
174 | peakCurrentPhaseA
175 | peakCurrentPhaseB
176 | peakCurrentPhaseC
177 | peakCurrentNeutral
178 | minCurrentPhaseA
179 | minCurrentPhaseB
180 | minCurrentPhaseC
181 | minCurrentNeutral
182 | averageVolatgePhaseA
183 | averageVolatgePhaseB
184 | averageVolatgePhaseC
186 | peakVoltagePhaseA
187 | peakVoltagePhaseB
188 | peakVoltagePhaseC
190 | minVoltagePhaseA
191 | minVoltagePhaseB
192 | minVoltagePhaseC
200 | voltage
201 | voltageUp
202 | voltageBat
203 | temperature
204 | probeTemperature
205 | voltage5
206 | signal
207 | probeTemperature2
501 | yearMonth
502 | dayHour
503 | minuteSecond
1001 | input1OnTimer
1002 | input2OnTimer
1003 | input3OnTimer
1004 | input4OnTimer
1005 | input5OnTimer
1006 | input6OnTimer
1007 | input7OnTimer
1008 | input8OnTimer
1009 | input9OnTimer
1010 | input10OnTimer
1011 | input11OnTimer
1012 | input12OnTimer
1013 | input13OnTimer
1014 | input14OnTimer
1015 | input15OnTimer
1016 | input16OnTimer
1100 | ai1ActualValue
1101 | ai1ActualAverage
1102 | ai1Max
1103 | ai1Min
1105 | ai2ActualValue
1106 | ai2ActualAverage
1107 | ai2Max
1108 | ai2Min
1110 | ai3ActualValue
1111 | ai3ActualAverage
1112 | ai3Max
1113 | ai3Min
1115 | ai4ActualValue
1116 | ai4ActualAverage
1117 | ai4Max
1118 | ai4Min
1120 | ai5ActualValue
1121 | ai5ActualAverage
1122 | ai5Max
1123 | ai5Min
1125 | ai6ActualValue
1126 | ai6ActualAverage
1127 | ai6Max
1128 | ai6Min
1130 | ai7ActualValue
1131 | ai7ActualAverage
1132 | ai7Max
1133 | ai7Min
1135 | ai8ActualValue
1136 | ai8ActualAverage
1137 | ai8Max
1138 | ai8Min
1140 | ai9ActualValue
1141 | ai9ActualAverage
1142 | ai9Max
1143 | ai9Min
1145 | ai10ActualValue
1146 | ai10ActualAverage
1147 | ai10Max
1148 | ai10Min
1150 | ai11ActualValue
1151 | ai11ActualAverage
1152 | ai11Max
1153 | ai11Min
1155 | ai12ActualValue
1156 | ai12ActualAverage
1157 | ai12Max
1158 | ai12Min
1160 | ai13ActualValue
1161 | ai13ActualAverage
1162 | ai13Max
1163 | ai13Min
1165 | ai14ActualValue
1166 | ai14ActualAverage
1167 | ai14Max
1168 | ai14Min
1170 | ai15ActualValue
1171 | ai15ActualAverage
1172 | ai15Max
1173 | ai15Min
1175 | ai16ActualValue
1176 | ai16ActualAverage
1177 | ai16Max
1178 | ai16Min
1500 | barometer
1501 | insideTemperature
1502 | insideHumidity
1503 | outsideTemperature
1504 | outsideHumidity
1505 | windSpeed
1506 | 10MinAvgWindSpeed
1507 | windDirection
1508 | rainRate
1509 | uv
1510 | solarRadiation
1511 | stormRain
1512 | dateTimeOfStartCurrentStorm
1520 | timeOfSunrise
1521 | timeOfSunset
1525 | dayRain
1526 | monthRain
1527 | yearRain
1530 | dayAverageUvIndex
1531 | monthAverageUvIndex
1532 | yearAverageUvIndex
1540 | soilMoisture1
1541 | soilMoisture2
1542 | soilMoisture3
1543 | soilMoisture4
1544 | soilMoisture5
1545 | soilMoisture6
1546 | soilMoisture7
1547 | soilMoisture8
1548 | soilMoisture9
1549 | soilMoisture10
1550 | leafWetness1
1551 | leafWetness2
1552 | leafWetness3
1553 | leafWetness4
1554 | leafWetness5
1555 | leafWetness6
1556 | leafWetness7
1557 | leafWetness8
1558 | leafWetness9
1559 | leafWetness10
1560 | extraTemperature1
1561 | extraTemperature2
1562 | extraTemperature3
1563 | extraTemperature4
1564 | extraTemperature5
1565 | extraTemperature6
1566 | extraTemperature7
1567 | extraTemperature8
1568 | extraTemperature9
1569 | extraTemperature10
1570 | soilTemperature1
1571 | soilTemperature2
1572 | soilTemperature3
1573 | soilTemperature4
1574 | soilTemperature5
1575 | soilTemperature6
1576 | soilTemperature7
1577 | soilTemperature8
1578 | soilTemperature9
1579 | soilTemperature10
1580 | leafTemperature1
1581 | leafTemperature2
1582 | leafTemperature3
1583 | leafTemperature4
1584 | leafTemperature5
1585 | leafTemperature6
1586 | leafTemperature7
1587 | leafTemperature8
1588 | leafTemperature9
1589 | leafTemperature10
1590 | extraHumidity1
1591 | extraHumidity2
1592 | extraHumidity3
1593 | extraHumidity4
1594 | extraHumidity5
1595 | extraHumidity6
1596 | extraHumidity7
1597 | extraHumidity8
1598 | extraHumidity9
1599 | extraHumidity10
1600 | prevailingHourWindDirection
1601 | prevailingMonthWindDirection
1602 | prevailingYearWindDirection
1610 | dailyLowBarometer
1611 | monthLowBarometer
1612 | yearLowBarometer
1613 | dateTimeOfDailyLowBarometer
1614 | dateTimeOfMonthLowBarometer
1615 | dateTimeOfYearLowBarometer
1620 | dailyHighBarometer
1621 | monthHighBarometer
1622 | yearHighBarometer
1623 | dateTimeOfDailyHighBarometer
1624 | dateTimeOfMonthHighBarometer
1625 | dateTimeOfYearHighBarometer
1630 | dailyHiWindSpeed
1631 | monthHiWindSpeed
1632 | yearHiWindSpeed
1633 | dateTimeOfDailyHiWindSpeed
1634 | dateTimeOfMonthHiWindSpeed
1635 | dateTimeOfYearHiWindSpeed
1640 | dayLowInsideTemperature
1641 | monthLowInsideTemperature
1642 | yearLowInsideTemperature
1643 | dateTimeOfDayLowInTemperature
1644 | dateTimeOfMonthLowInsideTemperature
1645 | dateTimeOfYearLowInsideTemperature
1650 | dayHiInsideTemperature
1651 | monthHiInsideTemperature
1652 | yearHiInsideTemperature
1653 | dateTimeOfDayHiInTemperature
1654 | dateTimeOfMonthHiInsideTemperature
1655 | dateTimeOfYearHiInsideTemperature
1660 | dayLowInsideHumidity
1661 | monthLowInsideHumidity
1662 | yearLowInsideHumidity
1663 | dateTimeOfDayLowInsideHumidity
1664 | dateTimeOfMonthLowInsideHumidity
1665 | dateTimeOfYearLowInsideHumidity
1670 | dayHiInsideHumidity
1671 | monthHiInsideHumidity
1672 | yearHiInsideHumidity
1673 | dateTimeOfDayHiInsideHumidity
1674 | dateTimeOfMonthHiInsideHumidity
1675 | dateTimeOfYearHiInsideHumidity
1680 | dayLowOutsideTemperature
1681 | monthLowOutsideTemperature
1682 | yearLowOutsideTemperature
1683 | dateTimeOfDayLowOutsideTemperature
1684 | dateTimeOfMonthLowOutsideTemperature
1685 | dateTimeOfYearLowOutsideTemperature
1690 | dayHiOutsideTemperature
1691 | monthHiOutsideTemperature
1692 | yearHiOutsideTemperature
1693 | dateTimeOfDayHiOutsideTemperature
1694 | dateTimeOfMonthHiOutsideTemperature
1695 | dateTimeOfYearHiOutsideTemperature
1700 | dayLowOutsideHumidity
1701 | monthLowOutsideHumidity
1702 | yearLowOutsideHumidity
1703 | dateTimeOfDayLowOutsideHumidity
1704 | dateTimeOfMonthLowOutsideHumidity
1705 | dateTimeOfYearLowOutsideHumidity
1710 | dayHiOutsideHumidity
1711 | monthHiOutsideHumidity
1712 | yearHiOutsideHumidity
1713 | dateTimeOfDayHiOutsideHumidity
1714 | dateTimeOfMonthHiOutsideHumidity
1715 | dateTimeOfYearHiOutsideHumidity
1720 | dayLowDewPoint
1721 | monthLowDewPoint
1722 | yearLowDewPoint
1723 | dateTimeOfDayLowDewPoint
1724 | dateTimeOfMonthLowDewPoint
1725 | dateTimeOfYearLowDewPoint
1730 | dayHiDewPoint
1731 | monthHiDewPoint
1732 | yearHiDewPoint
1733 | dateTimeOfDayHiDewPoint
1734 | dateTimeOfMonthHiDewPoint
1735 | dateTimeOfYearHiDewPoint
1740 | dayLowWindChill
1741 | monthLowWindChill
1742 | yearLowWindChill
1743 | dateTimeOfDayLowChill
1744 | dateTimeOfMonthLowWindChill
1745 | dateTimeOfYearLowWindChill
1750 | dayHighHeat
1751 | monthHighHeat
1752 | yearHighHeat
1753 | dateTimeOfDayHighHeat
1754 | dateTimeOfMonthHighHeat
1755 | dateTimeOfYearHighHeat
1760 | dayHighSolarRadiation
1761 | monthHighSolarRadiation
1762 | yearHighSolarRadiation
1763 | dateTimeOfDayHighSolarRadiation
1764 | dateTimeOfMonthHighSolarRadiation
1765 | dateTimeOfYearHighSolarRadiation
1770 | dayHighUv
1771 | monthHighUv
1772 | yearHighUv
1773 | dateTimeOfDayHighUv
1774 | dateTimeOfMonthHighUv
1775 | dateTimeOfYearHighUv
1780 | hourHighRainRate
1781 | dayHighRainRate
1782 | monthHighRainRate
1783 | yearHighRainRate
1784 | dateTimeOfHourHighRainRate
1785 | dateTimeOfDayHighRainRate
1786 | dateTimeOfMonthHighRainRate
1787 | dateTimeOfYearHighRainRate
1790 | dayHiSoilMoisture
1791 | monthHiSoilMoisture
1792 | yearHiSoilMoisture
1793 | dateTimeOfDayHiSoilMoisture
1794 | dateTimeOfMonthHiSoilMoisture
1795 | dateTimeOfYearHiSoilMoisture
1797 | dayLowSoilMoisture
1798 | monthLowSoilMoisture
1799 | yearLowSoilMoisture
1800 | dateTimeOfDayLowSoilMoisture
1801 | dateTimeOfMonthLowSoilMoisture
1802 | dateTimeOfYearLowSoilMoisture
2000 | xAxisAceleracion
2001 | yAxisAceleracion
2002 | zAxisAceleracion
3001 | input1Count
3002 | input2Count
3003 | input3Count
3004 | input4Count
3005 | input5Count
3006 | input6Count
3007 | input7Count
3008 | input8Count
10000 | serverConnectionStatusActualValue
10001 | slaveConnectionStatusActualValue
10002 | ricInput1ActualValue
10003 | ricInput2ActualValue
10004 | ricInput3ActualValue
10005 | ricInput4ActualValue
10006 | ricRele0FeedbackActualValue
10007 | ricRele1FeedbackActualValue
10008 | ricRele0SelectActualValue
10009 | ricRele1SelectActualValue
10010 | ricRtcChangeActualValue
10011 | ricRele0ErrorActualValue
10012 | ricRele1ErrorActualValue
10013 | ricResetActualValue
10014 | ricBatteryStatusActualValue
10015 | ricBatteryTestRunningActualValue
10016 | ethernetConnectionStatus
10017 | celularConnectionStatus
10018 | voltagePhaseAToNeutralLFail
10019 | voltagePhaseBToNeutralLFail
10020 | voltagePhaseCToNeutralLFail
10021 | currentPhaseAFail
10022 | currentPhaseBFail
10023 | currentPhaseCFail
10024 | currentPhaseNFail
10025 | currentPhaseADiDtFail
10026 | currentPhaseBDiDtFail
10027 | currentPhaseCDiDtFail
10028 | voltagePhaseAToNeutralHFail
10029 | voltagePhaseBToNeutralHFail
10030 | voltagePhaseCToNeutralHFail
10031 | or100181001910020
10032 | or10021100221002310024
10033 | or100251002610027
10034 | or100281002910030
10035 | ricInternetConnection
10036 | fallaAlimentacion
10037 | errorCharger
10038 | errorBattery
10039 | threePhaseFailure
10040 | currentPhaseAHhFail
10041 | currentPhaseBHhFail
10042 | currentPhaseCHhFail
10043 | currentPhaseNHhFail
10044 | or100401004110042
10050 | ricInput5ActualValue
10051 | ricInput6ActualValue
10052 | ricInput7ActualValue
10053 | ricInput8ActualValue
10054 | ricInput9ActualValue
10055 | ricInput10ActualValue
10056 | ricInput11ActualValue
10057 | ricInput12ActualValue
10058 | ricInput13ActualValue
10059 | ricInput14ActualValue
10060 | ricInput15ActualValue
10061 | ricInput16ActualValue
10070 | dgDtXAxis
10071 | dgDtYAxis
10072 | dqDtZAxis
10073 | or100701007110072
10075 | ricRele2FeedbackActualValue
10076 | ricRele2SelectActualValue
10077 | ricRele3FeedbackActualValue
10078 | ricRele3SelectActualValue
10079 | ricRele4FeedbackActualValue
10080 | ricRele4SelectActualValue
10081 | ricRele5FeedbackActualValue
10082 | ricRele5SelectActualValue
10083 | ricRele6FeedbackActualValue
10084 | ricRele6SelectActualValue
10085 | ricRele7FeedbackActualValue
10086 | ricRele7SelectActualValue
10087 | ricRele8FeedbackActualValue
10088 | ricRele8SelectActualValue
10089 | ricRele9FeedbackActualValue
10090 | ricRele9SelectActualValue
10091 | ricRele10FeedbackActualValue
10092 | ricRele10SelectActualValue
10093 | ricRele11FeedbackActualValue
10094 | ricRele11SelectActualValue
10095 | ricRele12FeedbackActualValue
10096 | ricRele12SelectActualValue
10100 | cooperRecloserClosed
10101 | cooperRecloserOpen
10102 | cooperControlIsLockedOut
10103 | cooperAnyControlOrSystemAlarm
10104 | cooperAboveMinimumTrip
10105 | cooperSupervisoryOff
10106 | cooperNonReclosing
10107 | cooperGroundTripBlocked
10108 | cooperSefBlocked
10109 | cooperColdLoadPickupBlocked
10110 | cooperFastTripsBlocked
10111 | cooperNormalProfileSelected
10112 | cooperAlternateProfile1Selected
10113 | cooperAlternateProfile2Selected
10114 | cooperAlternateProfile3Selected
10115 | cooperHotLineTag
10116 | cooperPhaseABusVoltagePresent
10117 | cooperPhaseBBusVoltagePresent
10118 | cooperPhaseCBusVoltagePresent
10119 | cooperReversePowerFlow
10120 | cooperBatteryTestActive
10121 | cooperNoAcPowerPresent
10122 | cooperBatteryAlarm
10123 | cooperCi8Alt1Tb3910
10124 | cooperCi9Alt2Tb31112
10125 | cooperCi10Alt3Tb31314
10126 | cooperCi11NrmlTb31516
10127 | cooperCo1AuxTb1111213
10128 | cooperCo2OkTb11415
10129 | cooperCo3HltTb11617
10130 | cooperCo4GtbTb11819
10131 | cooperSs1LoTb1910
10132 | cooperCo5NrTb31718
10133 | cooperCo6AlmTb3192021
10134 | cooperCo7NrmTb412
10135 | cooperCo8Alt1Tb434
10136 | cooperCo9Alt2Tb456
10137 | cooperCo10Alt3Tb478
10138 | cooperCo11FrqTb4910
10139 | cooperCo12VltTb4111213
10140 | cooperRecloseRetryEnabled
10141 | cooperPhaseAFaultTrip
10142 | cooperPhaseBFaultTrip
10143 | cooperPhaseCFaultTrip
10144 | cooperGroundFaultTrip
10145 | cooperSefTrip
10146 | cooperCi1RTripTb134
10147 | cooperCi2SCloseTb156
10148 | cooperCi3STripTb178
10149 | cooperCi4GtbTb312
10150 | cooperCi5NReclTb334
10151 | cooperCi6TargRTb356
10152 | cooperCi7Tb378
10153 | cooperGroundOvercurrentAlarm
10154 | cooperPhaseOvercurrentAlarm
10155 | cooperNegativeSequenceOvercurrentAlarm
10156 | cooperHotLineTagInputFromIdeaWorkbenchWbHltLockOn
10157 | cooperHotLineTagInputFromCommunicationsWorkbenchCommHltLockOn
10158 | cooperHotLineTagInputFromFrontPanelToggleSwitchLocalHltLockOn
10159 | cooperCciControlCircuitInterrupted
10160 | cooperRecloserClosedB
10161 | cooperRecloserOpenB
10162 | cooperControlIsLockedOutB
10163 | cooperCciControlCircuitInterruptedB
10164 | cooperRecloserClosedC
10165 | cooperRecloserOpenC
10166 | cooperControlIsLockedOutC
10167 | cooperCciControlCircuitInterruptedC
10168 | cooperPhaseBOverCurrentAlarm
10169 | cooperPhaseCOverCurrentAlarm
10170 | cooperGangedMode
10171 | cooper13Mode
10172 | cooper11Mode
10173 | cooperDoCloseMechanismA
10174 | cooperDoTripMechanismA
10175 | cooperDoBlockReclosing
10176 | cooperDoBlockGroundTrip
10177 | cooperDoBlockSef
10178 | cooperDoBlockColdLoadPickUp
10179 | cooperDoBlockFastTrips
10180 | cooperDoProfileNormal
10181 | cooperDoProfileAlt1
10182 | cooperDoProfileAlt2
10183 | cooperDoProfileAlt3
10184 | cooperDoResetTargets
10185 | cooperDoResetDemands
10186 | cooperDoResetAlarms
10187 | cooperDoTestBattery
10188 | cooperDoHltSet
10189 | cooperDoHltReset
10190 | cooperDoEnableRecloseRetry
10191 | cooperDoCombinedTripClose
10192 | cooperDoSyncCheckEnable
10193 | cooperDoTripMechanismB
10194 | cooperDoTripMechanismC
10195 | cooperDoCloseMechanismB
10196 | cooperDoCloseMechanismC
10197 | cooperDoThreePhaseGangedMode
10198 | cooperDoSinglePhaseTripThreePhaseLockoutMode
10199 | cooperDoSinglePhaseTripSinglePhaseLockoutMode
10200 | cooperDoTripAll
10201 | cooperDoClseAll
10202 | cooperDoFutureAReservedForFactoryUse
10203 | cooperDoFutureBReservedForFactoryUse
10204 | cooperDoFutureCReservedForFactoryUse
10300 | alarmaLazoNoDetectadoAi1
10301 | alarmaLazoNoDetectadoAi2
10302 | alarmaLazoNoDetectadoAi3
10303 | alarmaLazoNoDetectadoAi4
10304 | alarmaLazoNoDetectadoAi5
10305 | alarmaLazoNoDetectadoAi6
10306 | alarmaLazoNoDetectadoAi7
10307 | alarmaLazoNoDetectadoAi8
10308 | alarmaLazoNoDetectadoAi9
10309 | alarmaLazoNoDetectadoAi10
10310 | alarmaLazoNoDetectadoAi11
10311 | alarmaLazoNoDetectadoAi12
10312 | alarmaLazoNoDetectadoAi13
10313 | alarmaLazoNoDetectadoAi14
10314 | alarmaLazoNoDetectadoAi15
10315 | alarmaLazoNoDetectadoAi16
10316 | alarmaNivelBajoAi1
10317 | alarmaNivelBajoAi2
10318 | alarmaNivelBajoAi3
10319 | alarmaNivelBajoAi4
10320 | alarmaNivelBajoAi5
10321 | alarmaNivelBajoAi6
10322 | alarmaNivelBajoAi7
10323 | alarmaNivelBajoAi8
10324 | alarmaNivelBajoAi9
10325 | alarmaNivelBajoAi10
10326 | alarmaNivelBajoAi11
10327 | alarmaNivelBajoAi12
10328 | alarmaNivelBajoAi13
10329 | alarmaNivelBajoAi14
10330 | alarmaNivelBajoAi15
10331 | alarmaNivelBajoAi16
10332 | alarmaNivelAltoAi1
10333 | alarmaNivelAltoAi2
10334 | alarmaNivelAltoAi3
10335 | alarmaNivelAltoAi4
10336 | alarmaNivelAltoAi5
10337 | alarmaNivelAltoAi6
10338 | alarmaNivelAltoAi7
10339 | alarmaNivelAltoAi8
10340 | alarmaNivelAltoAi9
10341 | alarmaNivelAltoAi10
10342 | alarmaNivelAltoAi11
10343 | alarmaNivelAltoAi12
10344 | alarmaNivelAltoAi13
10345 | alarmaNivelAltoAi14
10346 | alarmaNivelAltoAi15
10347 | alarmaNivelAltoAi16
20000 | operateRele0
20001 | operateRele1
20002 | operateRele2
20003 | operateRele3
20004 | operateRele4
20005 | operateRele5
20006 | operateRele6
20007 | operateRele7
20008 | operateRele8
20009 | operateRele9
20010 | operateRele10
20011 | operateRele11
20100 | cooperCloseMechanismA
20101 | cooperTripMechanismA
20102 | cooperBlockReclosing
20103 | cooperBlockGroundTrip
20104 | cooperBlockSef
20105 | cooperBlockColdLoadPickUp
20106 | cooperBlockFastTrips
20107 | cooperProfileNormal
20108 | cooperProfileAlt1
20109 | cooperProfileAlt2
20110 | cooperProfileAlt3
20111 | cooperResetTargets
20112 | cooperResetDemands
20113 | cooperResetAlarms
20114 | cooperTestBattery
20115 | cooperHltSet
20116 | cooperHltReset
20117 | cooperEnableRecloseRetry
20118 | cooperCombinedTripClose
20119 | cooperSyncCheckEnable
20120 | cooperTripMechanismB
20121 | cooperTripMechanismC
20122 | cooperCloseMechanismB
20123 | cooperCloseMechanismC
20124 | cooperThreePhaseGangedMode
20125 | cooperSinglePhaseTripThreePhaseLockoutMode
20126 | cooperSinglePhaseTripSinglePhaseLockoutMode
20127 | cooperTripAll
20128 | cooperClseAll
20129 | cooperFutureAReservedForFactoryUse
20130 | cooperFutureBReservedForFactoryUse
20131 | cooperFutureCReservedForFactoryUse